## LL Storage 2009
Existing Foodservice Equipment Assessment
2025-06-04
Project: | Bozeman Yellowstone International Airport | [8 empty] | TOTALS: |  |  |  | 45000 | 138529.16 | 92640.7
Item # | Special | Quantity | Unit | Description : LL Storage | Manufacturer | Model # | Serial # | Amp Load | Voltage | Plug/ Direct | Gas Connection | Retain | Replacement needed | Replacement estimate | Full Replacement estimate | Appx value at time of purchase | Additional Notes
1 | NIC | 1 | ea | Mop Sink | Eagle Group | F1916 | [5 empty] | X
2 |  | 1 | ea | Mop Holder | Eagle Group | US0824-16/3 | [5 empty] | X |  |  | 496.73 | 499.89
3 |  | 2 | ea | Cart, Utility | Lakeside | 943 | [5 empty] | X |  |  | 3927.04 | 3927.04
4 |  | 1 | ea | Rack, Can Storage | Newage | 97294CK | [5 empty] | X |  |  | 3770.86 | 3781.62
5 |  | 35 | ea | Shelving, Wire | Metro | 2472BR | [5 empty] | X |  |  | 5661.35 | 5503.05
6 |  | 1 | ea | Walk In Cooler/ Freezer Combination Box | Kolpak | WALK IN COMBO |  | 10 | 115/1 | D |  | X |  |  | 55000 | 31408.04
|  |  |  | Cooler Compressor |  |  |  | 7.5 | 208/3 | D |  |  | X | 7500 |  |  | likely to need replacement soon
|  |  |  | Cooler Evaporator |  |  |  | 1.2 | 115/1 | D |  |  | X | 3000 |  |  | likely to need replacement soon
|  |  |  | Freezer Compressor |  |  |  | 9.8 | 208/3 | D |  |  | X | 8500 |  |  | likely to need replacement soon
|  |  |  | Freezer Evaporator |  |  |  | 13 | 115/1 | D |  |  | X | 3500 |  |  | likely to need replacement soon
|  |  |  | Heat Tape |  |  |  | 6 | 115/1 | 5-20P |  | X
6A |  | 2 | ea | Compressor Rack | Fabricated | COMP RACK | [5 empty] | X |  |  | 805 | 805
7 |  | 16 | ea | Shelving, Wire | Metro | 2472NK3 | [5 empty] | X |  |  | 2566.48 | 2451.52
8 |  | 40 | ea | Metromax Q Shelf | Metro | MQ2472G | [5 empty] | X |  |  | 7111.65 | 7111.65
9 |  | 1 | ea | Dunnage Rack, Tubular | Newage | 2013 | [5 empty] | X |  |  | 172.3 | 172.3
10 |  | 0 | ea | Not Used | [7 empty] | X
11 | NIC | 1 | ea | Sink, Hand | Eagle Group | HSA-10 | [5 empty] | X
12 | NIC | 1 | ea | Mop Sink | Eagle Group | F1916 | [5 empty] | X
13 |  | 1 | ea | Mop Holder | Eagle Group | US0824-16/3 | [5 empty] | X |  |  | 496.73 | 499.89
14 | NIC | 1 | ea | Sink, Hand | Eagle Group | HSA-10 | [5 empty] | X
15 |  | 20 | ea | Shelving, Wire | Metro | 2472BR | [5 empty] | X |  |  | 2804.7 | 2804.7
16 | NIC | 2 | ea | Cart, Utility | Lakeside | 943 | [5 empty] | X
17 |  | 1 | ea | Walk In Cooler/ Freezer Combination Box | Kolpak | WALK IN COMBO |  | 10 | 115/1 | D |  | X |  |  | 50000 | 27960
|  |  |  | Cooler Compressor |  |  |  | 7.5 | 208/3 | D |  |  | X | 7500 |  |  | likely to need replacement soon
|  |  |  | Cooler Evaporator |  |  |  | 1.2 | 115/1 | D |  |  | X | 3000 |  |  | likely to need replacement soon
|  |  |  | Freezer Compressor |  |  |  | 9 | 208/3 | D |  |  | X | 8500 |  |  | likely to need replacement soon
|  |  |  | Freezer Evaporator |  |  |  | 10 | 115/1 | D |  |  | X | 3500 |  |  | likely to need replacement soon
|  |  |  | Heat Tape |  |  |  | 6 | 115/1 | 5-20P |  | X
17A |  | 2 | ea | Compressor Rack | Fabricated | COMP RACK | [5 empty] | X |  |  | 805 | 805
18 |  | 8 | ea | Shelving, Wire | Metro | 2172NK3 | [5 empty] | X |  |  | 1326.76 | 1326.76
19 |  | 1 | ea | Dunnage Rack, Tubular | Newage | 2016 | [5 empty] | X |  |  | 257.66 | 257.34
20 |  | 0 | ea | Not Used | [7 empty] | X
21 |  | 5 | ea | Metromax Q Shelf | Metro | MQ2472G | [5 empty] | X |  |  | 3085.4 | 3085.4
22 |  | 2 | ea | Stainless Steel Corner Guard-2-1/8" X 2-1/8"X 48" - | Eagle Group | CORNER GUARD | [5 empty] | X |  |  | 80.5 | 80.5
23 |  | 4 | ea | Stainless Steel Corner Guard-2-1/8" X 2-1/8"X 48" - | Eagle Group | CORNER GUARD | [5 empty] | X |  |  | 161 | 161

## Bistro 2009
Existing Foodservice Equipment Assessment
2025-06-04
Project: | Bozeman Yellowstone International Airport | [8 empty] | TOTALS: |  |  |  | 104736.7 | 241344.71 | 187081
Item # | Special | Quantity | Unit | Description : Bistro | Manufacturer | Model # | Serial # | Amp Load | Voltage | Plug/ Direct | Gas Connection | Retain | Replacement needed | Replacement estimate | Full Replacement estimate | Appx value at time of purchase | Additional Notes
101 |  | 1 | ea | Mop Sink | Eagle Group Group | F1916-VSCS | [5 empty] | X |  |  | 4561.94 | 4754.85
102 |  | 0 |  | Not Used
103 |  | 12 | ea | Metromax I Shelf | Metro | MQ2442G | [5 empty] | X |  |  | 2356.38 | 2356.38
104 |  | 2 | ea | Cart, Utility | Lakeside | 943 | [5 empty] | X |  |  | 3927.04 | 3927.04
105 |  | 1 | ea | Heated Cabinet, Mobile, Half-Height | Crescor | H-137-SUA-6C |  | 8 | 115/1 | 5-20P |  | X |  |  | 3340.75 | 3340.75
106 |  | 1 | ea | Pizza Prep Table | Traulsen | VPS48S |  | 12 | 115/1 | 5-20P |  | X |  |  | 12365 | 6157.68
107 |  | 2 | ea | Shelf, Wall-Mounted | Eagle Group Group | WS1278-14/3 | [5 empty] | X |  |  | 849.52 | 849.52
108 |  | 1 | ea | Combi Oven, Electric, Full Size | Altosham | 10-18ESI/DLX |  | 61.1 | 208/3 | D |  |  | X | 23391.7 | 23391.7 | 23391.7
[8 empty] | 0.5 | 208/1 | D |  |  | X | 25000 |  |  | ventless countertop cooking equipment
109 |  | 1 | ea | Reach-In Refrigerator | Traulsen | RHT232WUT-HHS |  | 10.4 | 115/1 | 5-20P |  | X |  |  | 14640 | 29214.04
110 |  | 0 |  | Not Used
111 |  | 5 | ea | Metromax I Shelf | Metro | MQ2442G | [5 empty] | X |  |  | 1239.09 | 1564.13
112 |  | 1 | ea | Sink, Hand | Eagle Group Group | HSA-10 | [5 empty] | X |  |  | 1401.71 | 1464.87
113 |  | 1 | ea | Shelf, Wall-Mounted | Eagle Group Group | WS1284-14/3 | [5 empty] | X |  |  | 1678.41 | 864.76
114 |  | 1 | ea | Work Table, 108" Long | Eagle Group Group | T30108SE-BS | [5 empty] | X |  |  | 6119.97 | 3351.93
115 |  | 1 | ea | Beer Dispensing Head Unit | Glastender | CT-2-MF | [5 empty] | X |  |  | 923.92 | 497.3
116 |  | 1 | ea | Backbar, Storage Cabinet, Refrigerated | Glastender | BB60-H |  | 8.8 | 115/1 | 5-20P |  | X |  |  | 3211.81 | 3211.81
117 |  | 1 | ea | Bun Pan Rack | Newage | 1331 | [5 empty] | X |  |  | 661.05 | 377.09
118 |  | 1 | ea | Pizza Prep Table | Traulsen | VPS48S |  | 12 | 115/1 | 5-20P |  | X |  |  | 12365 | 6157.68
119 |  | 2 | ea | Shelf, Wall-Mounted | Eagle Group Group | WS1248-14/3 | [5 empty] | X |  |  | 1259.82 | 648.94
120 |  | 0 |  | Not Used
121 |  | 1 | ea | Shelf, Microwave | Eagle Group Group | MWS2424 | [5 empty] | X |  |  | 462.48 | 237.95
122 |  | 1 | ea | Microwave/Convection Oven | Amana | ACE14 |  | 16 | 208/1 | 6-20P |  | X |  |  | 4053.75 | 4053.75
123 |  | 2 | ea | Shelf, Wall-Mounted | Eagle Group Group | WS1248-14/3 | [5 empty] | X |  |  | 1259.82 | 648.94
124 |  | 1 | ea | Sandwich Grill/Toaster | Star | GX20IG |  | 13 | 208/1 | 6-20P |  | X |  |  | 1369.48 | 1369.48
125 |  | 1 | ea | Drop-In Sink | Eagle Group | CDI-10-14-5-1 | [5 empty] | X |  |  | 548.26 | 370.68
126 |  | 2 | ea | Bottle Display Riser | Cal-Mil | 677 | [5 empty] | X |  |  | 461.36 | 192.98
127 |  | 1 | ea | Reach in Refrigerator | Traulsen | UHT27-L |  | 3.3 | 115/1 | 5-20P |  | X |  | 4500 | 2287.59 | 2123.02 | likely to need replacement soon
128 |  | 1 | ea | Cappuccino Machine | Nuova | AURELIA 2GR PLUS |  | 21 | 208/1 | L6-30P |  | X |  |  | 10789.3 | 10711.95 | recently replaced
129 |  | 1 | ea | Coffee Grinder | Nuova | MDX/A |  | 3 | 115/1 | 5-20P |  | X |  |  | 969.62 | 969.62 | recently replaced
130 |  | 0 |  | Not Used
131 |  | 2 | ea | Blender, Bar Type | Vita-Mix | 36006 |  | 15 | 115/1 | 5-20P |  | X |  |  | 2010.52 | 2010.52
132 |  | 1 | ea | Ice Bin, Drop In | Glastender | DI-IB12 | [5 empty] | X |  |  | 998.72 | 361.79
133 |  | 1 | ea | Service/Self-Service Combo Merchandiser | Structural Concepts | HOU3852R |  | 17.2 | 115/1 | 5-20P |  | X | X | 13240 | 13240 | 8671.87 | likely to need replacement soon
134 | NIC | 1 | ea | Coffee Grinder | Wilbur Curtis | DHG-10 |  | 8 | 115/1 | 5-20P |  | X
135 | NIC | 1 | cs | Scale, Portion, Digital | Globe | GPS10-4 |  | 1 | 115/1 | 5-20P |  | X |  |  |  |  | recently replaced
136 | NIC | 1 | ea | Coffee Brewer With Satellites | Wilbur Curtis | GEM-12D-10 |  | 29.1 | 208/1 | D |  | X
137 |  | 1 | ea | Food Warmer/Display Stand | Hatco | GRHW-1SGDS |  | 13.8 | 115/1 | 5-20P |  | X |  |  | 2995.82 | 1652.04
138 |  | 1 | ea | Self-Service Refrigerated Open Air Screen Case | Structural Concepts | CO4760R |  | 11.8 | 208/1 | 14-20P |  |  | X | 12088 | 12088 | 8127.92 | likely to need replacement soon
139 |  | 1 | ea | Self-Service Refrigerated Open Air Screen Case | Structural Concepts | CO4760R |  | 11.8 | 208/1 | 14-20P |  |  | X | 12088 | 12088 | 8127.92 | likely to need replacement soon
140 |  | 0 |  | Not Used
141 |  | 1 | ea | Workboard, Ice\Cocktail Station | Glastender | ALL-72A-CP10 |  | 15 | 115/1 | 5-20P |  | X |  |  | 6737.91 | 3539.62
142 |  | 1 | ea | Hand Sink Unit, Workboard | Glastender | HSA-12-D | [5 empty] | X |  |  | 1529.03 | 834.2
143 |  | 1 | ea | Glass Rack, Underbar | Glastender | DBGR-18 | [5 empty] | X |  |  | 1249.51 | 635.53
144 |  | 1 | ea | Glass Washer, Underbar Type | Glastender | GT-18 |  | 3.5 | 115/1 | 5-20P |  | X |  |  | 7502.69 | 3681.67
145 |  | 1 | ea | Ice Maker With Bin, Cube-Style | Manitowoc | QY-0274A |  | 9.9 | 115/1 | 5-20P |  |  | X | 4600 | 2886.83 | 2886.83 | likely to need replacement soon
146 |  | 1 | ea | Reach-In Freezer | Traulsen | RLT132WUT-HHS |  | 11.5 | 115/1 | 5-20P |  | X |  |  | 8624 | 8398.45
147 |  | 1 | ea | Reach-In Refrigerator | Traulsen | RHT232WUT-HHS |  | 10.4 | 115/1 | 5-20P |  | X |  |  | 29214.04 | 9899.78
148 |  | 1 | ea | Sink, Hand | Eagle Group | HSAP-14-FW | [5 empty] | X |  |  | 1843.88 | 948.87
149 |  | 1 | ea | Dishwasher, Undercounter | Hobart | LXIH-4 |  | 37.7 | 115/208 | 14-50P |  |  | X | 9829 | 9829 | 6123.64 | likely to need replacement soon
149A |  | 1 | ea | Water Filter | Everpure | EV9799-11 | [5 empty] | X |  |  | 529.12 | 216.61
150 |  | 0 |  | Not Used
151 |  | 1 | ea | Rack Shelf | Eagle Group | 606300 | [5 empty] | X |  |  | 803.39 | 413.46
152 |  | 1 | ea | Sink 3-Compartment | Eagle Group | FN2048-3-18-14/3 | [5 empty] | X |  |  | 6893.62 | 4007.85
153 | NIC | 2 | ea | Trash Container | Plymold | 80100DE | [5 empty] | X
154 | NIC | 2 | ea | Trash Container | Plymold | 80100DE | [5 empty] | X
155 | NIC | 2 | ea | Trash Container | Plymold | 80100DE | [5 empty] | X
156 | NIC | 6 | ea | Crowd Control Stanchion (Portable) | BSI | 930/38 | [5 empty] | X
157 |  | 1 | lt | Corner Guard |  | CORNER GUARD-A | [5 empty] | X |  |  | 105.86 | 53.59
158 |  | 1 | lt | Wall Flashing Per Drawings And Elevations | Custom | WALL FLASHING | [5 empty] | X |  |  | 2875 | 2875
159 | NIC | 1 | ea | Walk In Floral Cooler/ Fish Freezer | Kolpak | WALK IN COMBO |  | 10 | 115/1 | D |  | X |  |  |  |  | unknown
|  |  |  | Floral Cooler Compressor |  |  |  | 5.9 | 208/1 | D |  |  | X |  |  |  | unknown
|  |  |  | Floral Cooler Evaporator |  |  |  | 1.1 | 208/1 | D |  |  | X |  |  |  | unknown
|  |  |  | Fish Freezer Compressor |  |  |  | 7.1 | 208/3 | D |  |  | X |  |  |  | unknown
|  |  |  | Fish Freezer Evaporator |  |  |  | 9 | 115/1 | D |  |  | X |  |  |  | unknown
|  |  |  | Heat Tape |  |  |  | 6 | 115/1 | 5-20P |  |  | X
159A |  | 2 | ea | Compressor Rack | Fabricated | COMP WALL RACK | [5 empty] | X |  |  | 805 | 805
160 |  | 0 |  | Not Used
161 | NIC | 4 | ea | Shelving, Wire | Metro | 1872NK3 | [5 empty] | X
162 | NIC | 4 | ea | Shelving, Wire | Metro | 1872NK3 | [5 empty] | X

## Copper Horse 2009
Existing Foodservice Equipment Assessment
2025-06-04
Project: | Bozeman Yellowstone International Airport | [8 empty] | TOTALS: |  |  |  | 147959 | 331015.79 | 215191.18
Item # | Special | Quantity | Unit | Description : Copper Horse | Manufacturer | Model # | Serial # | Amp Load | Voltage | Plug/ Direct | Gas Connection | Retain | Replacement needed | Replacement estimate | Full Replacement estimate | Appx value at time of purchase | Additional Notes
201 |  | 1 | ea | Walk In Cooler | Kolpak | WALK IN COOLER |  | 8 | 115/1 | D |  | X |  |  | 10723.75 | 10723.75
|  |  |  | Cooler Compressor |  |  |  | 7.5 | 208/3 | D |  |  | X | 7500 |  |  | likely to need replacement soon
|  |  |  | Cooler Evaporator |  |  |  | 1.2 | 115/1 | D |  |  | X | 3000 |  |  | likely to need replacement soon
201a |  | 1 | ea | Compressor Rack | Fabricated | COMP RACK | [5 empty] | X |  |  | 402.5 | 402.5
202 |  | 1 | ea | Rack, Keg | Newage | 31842TT7 | [5 empty] | X |  |  | 647.92 | 341.84
203 |  | 5 | ea | Metromax Q Shelf | Metro | MQ2472G | [5 empty] | X |  |  | 2577.8 | 1636.54
204 |  | 5 | ea | Metromax Q Shelf | Metro | MQ2448G | [5 empty] | X |  |  | 1064.69 | 738.34
205 |  | 1 | ea | Freezer Reach-In | Traulsen | RLT132WUT-HHS |  | 11.5 | 115/1 | 5-20P |  | X |  |  | 24499.03 | 8398.45
206 |  | 1 | ea | Sink, Hand | Eagle Group | HSA-10 | [5 empty] | X |  |  | 926.33 | 555.96
207 |  | 5 | ea | Metromax I Shelf | Metro | MQ2442G | [5 empty] | X |  |  | 1064.69 | 738.34
208 |  | 1 | ea | Sink 3-Compartment | Eagle Group | FN2048-3-18-14/3 | [5 empty] | X |  |  | 6105.82 | 3685.82
209 |  | 1 | ea | Shelf, Wall-Mounted | Eagle Group | WS1284-14/3 | [5 empty] | X |  |  | 824.31 | 424.76
210 |  | 0 |  | Not Used
211 |  | 1 | ea | Pot Rack, Wall-Mounted | Eagle Group | WM96PR | [5 empty] | X |  |  | 650.43 | 335.29
212 |  | 1 | ea | Mop Sink | Eagle Group | F1916-VSCS | [5 empty] | X |  |  | 4561.94 | 2350.96
213 |  | 0 |  | Not Used
214 |  | 1 | ea | Rack Shelf | Eagle Group | 606302 | [5 empty] | X |  |  | 967.2 | 498.51
215 |  | 1 | ea | Dishtable, Clean | Eagle Group | CDTR-84-14/3 | [5 empty] | X |  |  | 4099.06 | 2110.07
216 |  | 1 | ea | Booster Heater, Gas | Hatco | PMG-60 |  | 1.8 | 115/1 | D | 1/2" |  | X | 7500 | 4826.85 | 4826.85 | appears to have been change to electric
216a |  | 1 | ea | Safety System Moveable Gas Connector | Dormont | 1650KITCF2S48 | [5 empty] | X |  |  | 340.36 | 211.47
217 | NIC | 1 | ea | Class 2 Hood System- 42" X42" | Captive Aire | CLASS 2 HOOD | [5 empty] | X |  |  | 0 | 0
218 |  | 1 | ea | Dishwasher, Door Type | Hobart | AM15T-1 |  | 45.4 | 208/3 | D |  |  | X | 22059 | 12202.29 | 11715.18 | likely to need replacement soon
219 |  | 1 | ea | Disposer | Insinkerator | SS-150-18A-CC202 |  | 5.7 | 208/1 | D |  | X |  |  | 2743.39 | 2697.39
219a |  | 2 | ea | Angle Slip Flange | T&S | B-0461 | [5 empty] | X |  |  | 83.42 | 40.5
220 |  | 1 | ea | Dishtable, Soiled | Eagle Group | SDTL-84-14/3 | [5 empty] | X |  |  | 4689.51 | 2426.99
221 |  | 1 | ea | Rack Shelf | Eagle Group | 606301 | [5 empty] | X |  |  | 898.38 | 462.13
222 |  | 1 | ea | Reach-In Freezer | Traulsen | RLT132WUT-HHS |  | 11.5 | 115/1 | 5-20P |  |  | X | 9500 | 24499.03 | 8398.45 | likely to need replacement soon- location
223 | NIC | 1 | ea | Class 1 Hood System-Class 1 Hood System | Captive Aire | CLASS 1 HOOD | [5 empty] | X
224 |  | 1 | lt | Wall Flashing | Custom | WALL FLASHING | [5 empty] | X |  |  | 3220 | 3220
225 |  | 18 | ft | 45 Degree Top Gas Line Cover | Eagle Group | GAS LINE COVER | [5 empty] | X |  |  | 1345.5 | 1345.5
226 | NIC | 1 | ea | Fryer, Gas, Multiple | Frymaster | FPGL230 |  | 8.5 | 115/1 | 5-15P | 1" | X |  |  |  |  | recently replaced
226a |  | 1 | ea | Safety System Moveable Gas Connector | Dormont | 16100KITCF2S48 | [5 empty] | X |  |  | 579.87 | 358.4
227 |  | 1 | ea | Drain Cabinet w/ warmer | Frymaster | 20FPGL |  | 6.8 | 115/1 | 5-15P |  | X |  |  | 2212.6 | 1403 | recently replaced
228 |  | 1 | ea | Refrigerated Counter, Griddle Stand | Montague | RB-72-SC |  | 8.4 | 115/1 | 5-15P |  |  | X | 18500 | 15198.78 | 11138.33
229 |  | 1 | ea | Griddle, Counter Unit, Gas | Montague | DG2436-SAT |  | 0.4 | 115/1 | 5-15P | 3/4" | X |  |  | 7797.55 | 4236.72
229a |  | 1 | ea | Safety System Moveable Gas Connector | Dormont | 1675KITCF2S48 | [5 empty] | X |  |  | 405.68 | 250.73
230 |  | 0 |  | Not Used
231 |  | 1 | ea | Broiler, Gas, Char-Type Counter | Montague | UFLCS-36R |  |  |  |  | 3/4" | X |  |  | 3745.26 | 3745.26
231a |  | 1 | ea | Safety System Moveable Gas Connector | Dormont | 1675KITCF2S48 | [5 empty] | X |  |  | 405.68 | 250.73
232 |  | 1 | ea | Heavy Duty Range, Gas, 36" | Montague | V136-5 |  | 4.4 | 115/1 | 5-15P | 1" | X |  |  | 16852.08 | 9483.48
232a |  | 1 | ea | Safety System Moveable Gas Connector | Dormont | 16100KITCF2S48 | [5 empty] | X |  |  | 579.87 | 358.4
233 |  | 1 | ea | Pizza Prep Table | Randell | 8268N |  | 9 | 115/1 | 5-15P |  |  | X | 9500 | 12365.15 | 5528.97 | likely to need replacement soon
234 |  | 1 | ea | Buffet, Hot Food, Electric | Randell | 3612-208 |  | 8.3 | 208/1 | 6-15P |  |  | X | 3500 | 1780.73 | 1706.72 | likely to need replacement soon
235 |  | 1 | ea | Faucet | Fisher | 13242 | [5 empty] | X |  |  | 130.53 | 130.53
236 |  | 1 | ea | Refrigerated Counter, Sandwich Top | Randell | 9401-7 |  | 5.5 | 115/1 | 5-15P |  |  | X | 3500 | 4439.63 | 1956.15 | likely to need replacement soon
237 |  | 1 | ea | Work Table, 48" Long | Eagle Group | T3048SE-BS | [8 empty] | 2658.92 | 1369.18
238 | NIC | 1 | ea | Toaster, Electric Conveyor Type | Hatco | TQ-800H |  | 15.9 | 208/1 | 6-20P |  | X
239 |  | 1 | ea | Oven, Microwave | Amana | RC17S |  | 13.8 | 208/1 | 6-20P |  | X |  |  | 1616.38 | 1616.38
240 |  | 0 |  | Not Used
241 |  | 1 |  | Double Pass Shelf | Eagle Group | CUSTOM |  | 10 | 115/1 | D |  | X |  |  | 6875 | 6875
242 |  | 2 | ea | Heat Lamp, Rod Type | Hatco | GRA-48 |  | 6.7 | 115/1 | D |  | X |  |  | 584.34 | 327.88
243 |  | 1 | ea | Warming Drawer Unit, Built-In | Hatco | HDW-2B |  | 7.5 | 115/1 | D |  | X |  |  | 2979.6 | 1873.87
244 |  | 1 | ea | Food Warmer, Drop-In, Electric | Wells | SS-10ULTD |  | 6.9 | 115/1 | D |  | X |  |  | 606.94 | 400.5
245 |  | 1 | ea | Work Table | Eagle Group | OB2484SE-BS | [5 empty] | X |  |  | 4657.15 | 2425.69
246 |  | 1 | ea | Work Table | Eagle Group | OB2472SE-BS | [5 empty] | X |  |  | 4950.73 | 2547.61
247 | NIC | 1 | ea | Ice Maker, Cube-Style | Manitowc | SY-1804A |  | 23.5 | 208/1 | D |  | X |  |  |  |  | recently replaced
248 |  | 1 | ea | Floor Trough | Eagle Group | FT-0660-FG | [5 empty] | X |  |  | 1272.82 | 1272.82
249 |  | 1 | ea | Refrigerator, Reach in | Traulsen | RHT132WUT-HHS |  | 8.1 | 115/1 | 5-15P |  | X |  |  | 21648.18 | 7411.75
250 |  | 0 |  | Not Used | [7 empty] | X
251 |  | 1 | ea | Refrigerated Counter, Sandwich Top | Randell | 9030K-7 |  | 9 | 115/1 | 5-15P |  |  | X | 5500 | 3345.12 | 3227.65 | likely to need replacement soon
252 |  | 1 | ea | Shelf, Wall-Mounted | Eagle Group | WS1248-14/3 | [5 empty] | X |  |  | 1373.32 | 707.44
253 |  | 1 | ea | Sink, Hand | Eagle Group | HSAP-14-FW | [5 empty] | X |  |  | 1772.63 | 912.48
254 |  | 1 | ea | Mixer, Food | Hobart | HL200-1STDDEL |  | 8 | 115/1 | 5-15P |  | X |  |  | 5165.69 | 5165.69
255 |  | 1 | ea | Mixer/Slicer Stand | Eagle Group | MS3024S |  | 5 | 115/1 | 5-15P |  | X |  |  | 1849.9 | 951.8
256 |  | 1 | ea | Work Table, Cabinet Base, Open Front | Eagle Group | CUSTOM | [5 empty] | X |  |  | 3550.44 | 3550.44
257 |  | 1 | ea | Shelf, Wall-Mounted | Eagle Group | WS1296-14/3 | [5 empty] | X |  |  | 1709.42 | 879.52
258 | NIC | 1 | ea | Slicer, Food | Hobart | 2612-1 | [5 empty] | X
259 |  | 1 | ea | Work Table, Cabinet Base W/Hinged Doors | Eagle Group | CUSTOM |  | 10 | 115/1 | D |  | X |  |  | 3753.16 | 3625.75
260 | NIC | 1 | ea | Coffee Brewer With Satellites | Wilbur Curtis | GEM-120A-10 |  | 14.8 | 115/1 | 5-20P |  | X
261 | NIC | 1 | ea | Coffee Grinder | Wilbur Curtis | DHG-10 |  | 8 | 115/1 | 5-15P |  | X
262 |  | 1 | ea | Shelf, Wall-Mounted | Eagle Group | WS1572-14/3 | [5 empty] | X |  |  | 389.86 | 389.86
263 | NIC | 1 | ea | Custom Bag-In-Box Rack | Taprite | CUSTOM BIB 40 | [5 empty] | X
264 | NIC | 1 | ea | Soda Dispenser | Cornel | CB2323-8-4.5-100 |  | 4.4 | 115/1 | 5-15P |  | X
265 |  | 1 | ea | Ice & Water Unit, Drop-In | Delfield | 307 | [5 empty] | X |  |  | 636.54 | 294.98
266 |  | 2 | ea | Shelf, Wall-Mounted | Eagle Group | WS1548-14/3 | [5 empty] | X |  |  | 648.94 | 648.94
267 |  | 1 | ea | Bottle Display Unit, Liquor | Glastender | LLD-72L |  | 5 | 115/1 | 5-15P |  | X |  |  | 690.7 | 690.7
268 |  | 1 | ea | Backbar, Storage Cabinet, Refrigerated | Glastender | BB60-H |  | 8.8 | 115/1 | 5-15P |  |  | X | 5200 | 4435.86 | 3589.73 | likely to need replacement soon
269 |  | 1 | ea | Backbar, Storage Cabinet, Refrigerated | Glastender | BB84-H |  | 8.8 | 115/2 | 5-15P |  |  | X | 4800 | 4882.76 | 4882.76 | likely to need replacement soon
270 |  | 0 |  | Not Used
271 |  | 1 | ea | Bottle Display Unit, Liquor | Glastender | LLD-72R |  | 5 | 115/1 | 5-15P |  | X |  |  | 690.7 | 690.7
272 | NIC | 1 | ea | Tea Brewer | Wilbur Curtis | PTT310000 |  | 14.2 | 115/1 | 5-20P |  | X |  |  |  |  | recently replaced
273 |  | 1 | ea | Drop-In Sink | Eagle Group | CDI-10-14-5-1 | [5 empty] | X |  |  | 336.15 | 261.05
274 | NIC | 1 | ea | Coffee Brewer With Satellites | Wilbur Curtis | GEM-12D-10 |  | 29 | 208/1 | D |  | X
275 |  | 0 |  | Not Used | [7 empty] | X
276 |  | 1 | ea | Reach-In Refrigerator | Traulsen | UHT27-L |  | 3.3 | 115/1 | 5-15P |  |  | X | 4500 | 2286.32 | 2124.86
277 | NIC | 1 | ea | Coffee Grinder | Wilbur Curtis | DHG-10 |  | 8 | 115/1 | 5-15P |  | X |  |  |  |  | recently replaced
278 |  | 1 | ea | Coffee Grinder | Nuova | MDX/A |  | 3 | 115/1 | 5-15P |  | X |  |  | 969.62 | 969.62
279 |  | 1 | ea | Cappuccino Machine | Nuova | AURELIA 2GR PLUS |  | 21 | 208/1 | L6-30P |  | X |  |  | 10789.3 | 10711.95
280 |  | 0 |  | Not Used
281 |  | 2 | ea | Blender, Bar Type | Vita-Mix | 36006 |  | 6.5 | 115/1 | 5-15P |  | X |  |  | 2010.52 | 2010.52
282 |  | 1 | ea | Workboard, Ice\Cocktail Station | Glastender | IBB-12 | [5 empty] | X |  |  | 1150.14 | 539.44
283 |  | 2 | ea | Bottle Display Riser | Cal-Mil | 677 | [5 empty] | X |  |  | 461.36 | 192.98
284 |  | 1 | ea | Underbar Storage Cabinet | Glastender | DBCB-24 | [5 empty] | X |  |  | 1697.03 | 851.98
285 |  | 1 | ea | Hand Sink Unit, Workboard | Glastender | HSA-12-D | [5 empty] | X |  |  | 1529.03 | 834.2
286 |  | 1 | ea | Underbar Workboard | Glastender | DBB-18 | [5 empty] | X |  |  | 787.6 | 412.88
287 |  | 1 | ea | Glass Washer, Underbar Type | Glastender | GT-18 |  | 3.5 | 115/1 | 5-20P |  | X |  |  | 7686.57 | 3782.53 | likely to need replacement soon
288 |  | 1 | ea | Glass Rack, Underbar | Glastender | DBGR-18 | [5 empty] | X |  |  | 1254.57 | 640.59
289 |  | 1 | ea | Waste Cabinet, Wet/Dry | Glastender | DWB-15R | [5 empty] | X |  |  | 850.25 | 412.71
290 |  | 0 |  | Not Used
291 |  | 1 | ea | Glass Froster | Glastender | MF24-B |  | 8.2 | 115/1 | 5-15P |  | X |  |  | 3582.43 | 1802.2 | likely to need replacement soon
292 |  | 1 | ea | Blender Station | Glastender | BSA-12 |  | 15 | 115/1 | 5-20P |  | X |  |  | 1483.95 | 789.12
293 |  | 1 | ea | Bottle Display Unit, Liquor | Glastender | LDA-12S | [5 empty] | X |  |  | 1271.29 | 751.81
294 |  | 1 | ea | Workboard, Ice\Cocktail Station | Glastender | IBA-30-CP10 | [5 empty] | X |  |  | 3099.8 | 1735.27
295 |  | 1 | ea | Soda Gun Holder & Tubing Chase | Glastender | SHA-6 | [5 empty] | X |  |  | 508.36 | 254.36
296 |  | 1 | ea | Underbar Storage Cabinet | Glastender | DBCB-24 | [5 empty] | X |  |  | 1697.03 | 851.98
297 |  | 4 | ea | Stainless Steel Corner Guard-2-1/8" X 2-1/8"X 48" - | Eagle Group | CORNER GUARD | [5 empty] | X |  |  | 161 | 161
298 |  | 9 | ea | Stainless Steel End Caps To Fit Finished Wall | Eagle Group | END CAP | [5 empty] | X
299 |  | 1 | ea | Remote Beer System | Glastender | BLC-1/2 |  | 13.6 | 115/1 | 5-15P |  |  | X | 3800 | 4460.42 | 2373.75 | likely to need replacement soon
S1 |  | 1 | ea | Self-Service Refrigerated Open Air Screen Case | Structural Concepts | CO4778R |  | 15.1 | 208/1 | 14-20P |  |  | X | 13500 | 7348.79 | 7348.79 | likely to need replacement soon
S2 |  | 1 | ea | Counter Top Display Case | Spartan | 92415 | [8 empty] | 426.66 | 307.63
S3 |  | 1 | ea | Self-Service Refrigerated Open Air Screen Case | Structural Concepts | CO4778R |  | 15.1 | 208/1 | 14-20P |  |  | X | 13500 | 7348.79 | 7348.79 | likely to need replacement soon
S4 |  | 1 | ea | Service/Self-Service Non-Refrigerated Countertop | Structural Concepts | CGS2830 |  | 0.6 | 115 | 5-15P |  |  | X | 12600 | 4616.1 | 2559.04 | likely to need replacement soon
reduce length of refrigerated chef base to be code compliant with overhangs of hood. Add stainless bumper at end of hood to provide gap to wall

## Taco Jet 2013
Existing Foodservice Equipment Assessment
2025-06-04
Project: | Bozeman Yellowstone International Airport | [8 empty] | TOTALS: |  |  |  | 70322 | 217124.92 | 88274.84
Item # | Special | Quantity | Unit | Description Taco Jet | Manufacturer | Model # | Serial # | Amp Load | Voltage | Plug/ Direct | Gas Connection | Retain | Replacement needed | Replacement estimate | Full Replacement estimate | Appx value at time of purchase | Additional Notes
1 | NIC | 1 | ea | Mop Sink | By Owner | [6 empty] | X
2 |  | 1 | ea | Shelving, Wall-Mounted | Eagle Group | SWS1224-16/3-X | [5 empty] | X |  |  | 244.44 | 127.79
3 |  | 10 | ea | Wire Shelving | Olympic | J2460C | [5 empty] | X |  |  | 6058.3 | 941.25
4 |  | 1 | ea | Dishwasher, Undercounter | Moyer Diebel | 201HT |  | 32 | 115/208/1 | ? |  |  | X | 7722 | 7722 | 4080 | likely to need replacement soon
5 |  | 0 |  | Not Used
6 |  | 1 | ea | Three (3) Compartment Sink | Eagle Group | FN2060-3-24-14/3 | [5 empty] | X |  |  | 7353.37 | 3622.98
6.1 |  | 1 | ea | S/S Wall Metal | J&V | [6 empty] | X |  |  |  | 150
7 |  | 1 | ea | Disposer | InSinkErator | SS-100-5-CC101 |  | 2.2 | 208/1 | D |  | X |  |  | 4603.6 | 3191
8 |  | 5 | ea | Wire Shelving | Olympic | J2430K | [5 empty] | X |  |  | 1326.27 | 176.29
9 |  | 1 | ea | Overshelf | Eagle Group | WSP1260 | [5 empty] | X |  |  | 812.28 | 475.65
10 |  | 0 |  | Not Used
11 |  | 1 | ea | Hand Sink | Advance Tabco | 7-PS-EC-SPR-X | [5 empty] | X |  |  | 1190.42 | 310.22
12 |  | 0 |  | Not Used
13 |  | 1 | ea | Range, 24", 4 Open Burners | Vulcan | 24S-4B |  |  |  |  | 3/4" | X |  |  | 14412.08 | 3434.41
14 |  | 1 | ea | Charbroiler | Vulcan | VACB25 |  |  |  |  | 3/4" | X |  |  | 15973.28 | 2902.73
15 | NIC | 1 | ea | Exhaust Hood | Captive-Aire | 5430ND-2-PSP-F | [5 empty] | X
16 |  | 1 | ea | Countertop Griddle | Star | 872TA |  |  |  |  | 3/4" | X |  |  | 13463.9 | 5629.47
17 |  | 1 | ea | Equipment Stand, Refrigerated Base | True | TRCB-96 | [6 empty] | X | 12600 | 12351.53 | 7593.8 | likely to need replacement soon
18 |  | 1 | ea | Full Pot Fryer | Frymaster | FPP245 |  | 9 | 115/1 | 5-15P | 1" | X |  |  | 34449.41 | 14555.74 | recently replaced
|  |  |  | Warmer |  |  |  | 7 | 115/1 | 5-15P |  | X
19 |  | 1 | ea | Hand Sink | Advance Tabco | 7-PS-EC-SPR-X | [5 empty] | X |  |  | 1190.42 | 310.22
20 |  | 0 |  | Not Used
21 |  | 0 |  | Not Used
22 |  | 1 | ea | Reach-In Freezer | Beverage Air | HF2-1S |  | 12 | 115/1 | 5-15P |  |  | X | 8500 | 10629.6 | 4319.91 | likely to need replacement soon
23 |  | 1 | ea | Reach-In Freezer | Beverage Air | HF2-1S |  | 12 | 115/1 | 5-15P |  |  | X | 8500 | 10629.6 | 4319.91 | likely to need replacement soon
24 |  | 1 | ea | Reach-in Refrigerator | Beverage Air | HR1-1S |  | 5.8 | 115/1 | 5-15P |  |  | X | 4500 | 6159.36 | 2457.31 | likely to need replacement soon
25 |  | 0 |  | Not Used
26 |  | 1 | ea | Refrigerated Sandwich Unit | Beverage Air | SPE48-12C |  | 5 | 115/1 | 5-15P |  |  | X | 3500 | 6293.76 | 2584.88 | likely to need replacement soon
27 |  | 1 | ea | Work Table | Eagle Group | T3072SEM-BS | [5 empty] | X |  |  | 2729.16 | 1389.22
28 |  | 1 | ea | Wall Grid Shelving Accessories | Metro | SW56BR | [5 empty] | X |  |  | 322.34 | 174.69
29 | NIC | 1 | ea | Coffee Brewer | Bunn | SH-SINGLDBC-0000 |  | 17.5 | 115/208/1 | D |  | X
30 |  | 0 |  | Not Used
31 |  | 1 | ea | Reach-in Refrigerator | Beverage Air | HR1-1S |  | 5.8 | 115/1 | 5-15P |  |  | X | 4500 | 6159.36 | 2457.31 | likely to need replacement soon
32 |  | 1 | ea | Refrigerated Sandwich Unit | Beverage Air | SPE72-24M |  | 9.6 | 115/1 | 5-15P |  |  | X | 5500 | 8672.64 | 3561.18 | likely to need replacement soon
33 |  | 1 | ea | Refrigerated Sandwich Unit | Beverage Air | SPE72-24M |  | 9.6 | 115/1 | 5-15P |  |  | X | 5500 | 8672.64 | 3561.18 | likely to need replacement soon
34 |  | 1 | ea | Hot Food Serving Counter | Eagle Group | SHT5-208 |  | 17 | 208/1 | D |  |  | X |  | 5561.64 | 2832.58
35 |  | 0 |  | Not Used
36 |  | 1 | ea | Double Overshelf | Eagle Group | SPECFAB |  | ? |  |  |  | X |  |  | 3600 | 1835.53
37 |  | 1 | ea | Worktop Cook Stand Freezer | Beverage Air | WTFCS84-1 |  | 4.5 | 115/1 | 5-15P |  |  | X | 9500 | 15719.52 | 6266.94 | likely to need replacement soon
38 |  | 1 | ea | Heated Cabinet, Countertop | Delfield | 86002 |  | 10.4 | 115/1 | 5-15P |  | X |  |  | 7510.8 | 3475.93
39 |  | 1 | ea | Heated Cabinet, Countertop | Delfield | 86009 |  | 3 | 115/1 | 5-15P |  | X |  |  | 3313.2 | 1536.72
40 |  | 0 |  | Not Used
41 | Future | 2 | ea | Heated Cabinet, Countertop | Delfield | 86002 |  | 10.4 | 115/1 | 5-15P |  | X
42 | NIC | 2 | ea | Exhaust Blower | Captive-Aire | NCA14FA | [5 empty] | X
43 | NIC | 1 | ea | Make Up Air Unit | Captive-Aire | A2-D.500-G15 | [5 empty] | X
44 | NIC | 1 | ea | Control Package | Captive-Aire | DVC-2111 | [5 empty] | X

## LL Commissary Kitchen 2018
Existing Foodservice Equipment Assessment
2025-06-04
Project: | Bozeman Yellowstone International Airport | [8 empty] | TOTALS: |  |  |  | 15525 | 257034.86 | 217522.28
Item # | Special | Quantity | Unit | Description : LL Commissary Kitchen | Manufacturer | Model # | Serial # | Amp Load | Voltage | Plug/ Direct | Gas Connection | Retain | Replacement needed | Replacement estimate | Full Replacement estimate | Appx value at time of purchase | Additional Notes
1 |  | 16 | ft | Wall Cladding | Fabricated | DIAMOND TREAD - LOW BAND | [5 empty] | X |  |  | 2272.64 | 1706.24
1.1 |  | 5 | ft | Wall Cladding | Fabricated | STAINLESS STEEL - 60" | [5 empty] | X |  |  | 655.25 | 655.25
2 |  | 1 | ea | Transport Utility Cart | Lakeside | 949 | [5 empty] | X |  |  | 2862.19 | 1984.27
3 |  | 4 | ea | Wire Shelving | Metro | 2448NK3 | [5 empty] | X |  |  | 659.88 | 461.14
4 |  | 1 | ea | Mop Sink | FIAT | TSB-700 | [5 empty] | X |  |  | 1001.94 | 1001.94
4.1 |  | 1 | ea | Hose Bracket | T&S Brass | B-0654 | [5 empty] | X |  |  | 30.47 | 23.57
5 |  | 1 | ea | Service Faucet | Fisher | 8253 | [5 empty] | X |  |  | 288.18 | 207.35
6 |  | 1 | ea | Hose Bib Faucet | Fisher | 29556 | [5 empty] | X |  |  | 1022.65 | 499.32
7 |  | 1 | ea | Mop Broom Holder | Eagle Group | US0836-16/3 | [5 empty] | X |  |  | 585.77 | 394.94
8 |  | 3 | ea | CO2 Wall Bracket | Custom | GB200FS | [5 empty] | X |  |  | 165 | 165
9 | OWNER | 2 | ea | BIB Storage | TAPRITE | CUSTOM BIB 40 | [5 empty] | X
10 |  | 1 | ea | Draft Beer System Power Pack | Glastender | BLC-1/3 |  | 13 | 115/1 | 5-20P |  | X |  |  | 10614.47 | 8914.47
11 |  | 1 | ea | Walk In Combination Cooler Freezer | American Panel | WALK IN COMBO |  | 8 | 115/1 | D |  | X |  |  | 72907 | 72907
|  |  |  | Beer Cooler Compressor |  |  |  | 10 | 208/3 | D |  | X
|  |  |  | Beer Cooler Evaporator |  |  |  | 1.2 | 208/1 | D |  | X
|  |  |  | Cooler Compressor |  |  |  | 10 | 208/1 | D |  | X
|  |  |  | Cooler Evaporator |  |  |  | 1 | 208/1 | D |  | X
|  |  |  | Freezer Compressor |  |  |  | 14.6 | 208/3 | D |  | X
|  |  |  | Freezer Evaporator |  |  |  | 9.6 | 208/1 | D |  | X
|  |  |  | Heat Tape |  |  |  | 6 | 115/1 | 5-20P |  | X
11.1 |  | 3 | ea | Condensing Unit Stand | Fabricated | CONDENSING UNIT STAND | [5 empty] | X |  |  | 1327.5 | 1327.5
11.2 |  | 2 | ea | Drain Line Cover | Fabricated | DRAIN LINE COVER | [5 empty] | X |  |  | 885 | 531
12 |  | 4 | ea | Keg Storage Rack | New Age | NS933 | [5 empty] | X |  |  | 4050.72 | 2842.24
13 |  | 4 | ea | Wire Shelving | Metro | 2148NK3 | [5 empty] | X |  |  | 425.04 | 296.2
14 |  | 3 | ea | Bun / Sheet Pan Rack | New Age | 1331U | [5 empty] | X |  |  | 2488.41 | 1736.79
15 |  | 5 | ea | Plastic with Metal Frame Shelving | Metro | MQ2472G | [5 empty] | X |  |  | 3448.17 | 2772.15
16 |  | 0 |  | Not Used
17 |  | 8 | ea | Plastic with Metal Frame Shelving | Metro | MQ2472G | [5 empty] | X |  |  | 4972.84 | 4007.88
18 |  | 1 | ea | Dunnage Rack | New Age | 2015 | [5 empty] | X |  |  | 229.86 | 161.48
19 |  | 10 | ea | Wire Shelving | Metro | 2460BR | [5 empty] | X |  |  | 1933.12 | 1373.54
20 |  | 0 |  | Not Used
21 |  | 2 | ea | Dunnage Rack | New Age | 2014 | [5 empty] | X |  |  | 392.76 | 276.18
22 |  | 10 | ea | Wire Shelving | Metro | 2460BR | [5 empty] | X |  |  | 1438.36 | 1028.47
23 |  | 2 | ea | Transport Utility Cart | Lakeside | 949 | [5 empty] | X |  |  | 5724.38 | 3968.54
24 |  | 7 | ft | Wall Cladding | Fabricated | DIAMOND TREAD - LOW BAND | [5 empty] | X |  |  | 746.48 | 746.48
25 |  | 1 | ea | Hand Sink | Eagle Group | HSA-10 | [5 empty] | X |  |  | 841.74 | 563.93
25.1 |  | 1 | ea | Wall / Splash Mount Faucet | Fisher | 80691 | [5 empty] | X |  |  | 272.76 | 262.56
26-27 |  | 0 |  | Not Used
28 |  | 1 | ea | Work Table, with Prep Sink(s) | Eagle Group | SMPT3096 | [5 empty] | X |  |  | 9528.15 | 6497.18
28.1 |  | 2 | ea | Wall / Splash Mount Faucet | Fisher | 13277 | [5 empty] | X |  |  | 867.18 | 732.92
29 |  | 1 | ea | Shelving, Wall Mounted | Eagle Group | WS1296-16/3 | [5 empty] | X |  |  | 2345.36 | 1585.73
30 |  | 0 |  | Not Used
31 |  | 5 | ea | Plastic with Metal Frame Shelving | Metro | MQ2472G | [5 empty] | X |  |  | 1173.58 | 918.37
32 | by DIV 22/23 | 1 | lt | Class 2 Exhaust System | Captive-Aire | CLASS 2 HOOD | [5 empty] | X
33 |  | 13 | ft | Wall Cladding | Fabricated | STAINLESS STEEL - FULL HEIGHT | [5 empty] | X |  |  | 1967.94 | 1967.94
34 |  | 1 | ea | Kettle Cabinet Assembly, Electric | Cleveland | 36EMK6624 |  | 57 | 208/3 | D |  | X |  |  | 18751.04 | 22227.56
34.1 |  | 1 | ea | Water Filtration System, for Steam Equipment | Cleveland | QTI1-CR | [5 empty] | X |  |  | 303.2 | 358.96
35 |  | 1 | ea | Combi Oven, Electric | Alto-Shaam | CTC7-20E |  | 52.6 | 208/3 | D |  | X |  |  | 20314.97 | 15836.4
35.1 |  | 1 | ea | Water Filtration System, for Steam Equipment | Everpure | EV979750 | [5 empty] | X |  |  | 654.55 | 488.35
36 |  | 1 | ea | Bun / Sheet Pan Rack | New Age | 1331U | [5 empty] | X |  |  | 829.47 | 578.93
37 |  | 4 | ea | Plastic with Metal Frame Shelving | Metro | MQ2448G | [5 empty] | X |  |  | 823.22 | 643.34
38 |  | 1 | ea | Meat Slicer | Hobart | HS7-1 |  | 5.6 | 115/1 | 5-15P |  | X |  |  | 13844.2 | 8808.08
39 |  | 1 | ea | Equipment Stand, for Mixer / Slicer | Eagle Group | MET2430S | [5 empty] | X |  |  | 2064.96 | 1395.1
40 |  | 0 |  | Not Used
41 |  | 4 | ea | Plastic with Metal Frame Shelving | Metro | MQ2424G | [5 empty] | X |  |  | 731.14 | 567.26
42 |  | 1 | ea | Mobile Heated Cabinet | FWE | UHS-12 |  | 11 | 115/1 | 5-15P |  | X |  |  | 6106.27 | 4623.72
43 |  | 1 | ea | Work Table, Stainless Steel Top | Eagle Group | T4896SE |  | 10 | 115/1 | D |  |  | X | 1500 | 14286.66 | 10366.27 | modify table for 40 qt placement
44 |  | 1 | ea | Food Processor, Benchtop / Countertop | Robot Coupe | R2N ULTRA |  | 7 | 115/1 | 5-15P |  | X |  |  | 1234.76 | 2031.26
45 |  | 1 | ea | Can Opener | Edlund | S-11 | [5 empty] | X |  |  | 586.98 | 457.86
46 |  | 1 | ea | Planetary Mixer | Hobart | HL200-1STD |  | 8 | 115/1 | 5-15P |  |  | X | 14025 | 9571.27 | 6326.74 | replace with 40 qt
47 |  | 4 | ea | Plastic with Metal Frame Shelving | Metro | MQ2448G | [5 empty] | X |  |  | 823.22 | 643.34
48 |  | 1 | ea | Hand Sink | Eagle Group | HSA-10 | [5 empty] | X |  |  | 841.74 | 563.93
48.1 |  | 1 | ea | Wall / Splash Mount Faucet | Fisher | 80691 | [5 empty] | X |  |  | 272.76 | 262.56
49 |  | 4 | ea | Plastic with Metal Frame Shelving | Metro | MQ2448G | [5 empty] | X |  |  | 823.22 | 643.34
50 |  | 0 |  | Not Used
51 |  | 1 | ea | Shelving, Wall Mounted | Eagle Group | WS1236-16/3 | [5 empty] | X |  |  | 555.46 | 375.75
52 |  | 1 | ea | Three (3) Compartment Sink | Eagle Group | FN2860-3-24-14/3 | [5 empty] | X |  |  | 9589.38 | 6470.34
52.1 |  | 1 | ea | Wall / Splash Mount Faucet | Fisher | 5414 | [5 empty] | X |  |  | 1827.68 | 1656.89
53 |  | 1 | ea | Shelving, Wall Mounted | Eagle Group | WS1236-16/3 | [5 empty] | X |  |  | 555.46 | 375.75
54 |  | 16 | ft | Wall Cladding | Fabricated | STAINLESS STEEL - BELLY BAND | [5 empty] | X |  |  | 1328.64 | 1328.64
55 |  | 1 | ea | Wall Cap | Fabricated | WALL CAP | [5 empty] | X
56 |  | 1 | ea | Corner Guard | Fabricated | CORNER | [5 empty] | X |  |  | 41.3 | 41.3
57 |  | 3 | ea | Corner Guard | Fabricated | WALL END | [5 empty] | X |  |  | 424.8 | 424.8
58 |  | 1 | ea | Hose Reel | Fisher | 29262 | [5 empty] | X |  |  | 4001.72 | 3428.24
59-100 |  | 0 |  | Not Used
z |  | 2 | ea | Dishwasher, Undercounter | Moyer Diebel | 201HT |  | 32 | 115/208/1 | ? |  | X |  |  | 7722 | 4080 | added recently

## Ross Peak 2018
Existing Foodservice Equipment Assessment
2025-06-04
Project: | Bozeman Yellowstone International Airport | [8 empty] | TOTALS: |  |  |  | 0 | 580573.01 | 454724.98
Item # | Special | Quantity | Unit | Description: Ross Peak | Manufacturer | Model # | Serial # | Amp Load | Voltage | Plug/ Direct | Gas Connection | Retain | Replacement needed | Replacement estimate | Full Replacement estimate | Appx value at time of purchase | Additional Notes
101 |  | 1 | ea | Soiled Dishtable | Eagle Group | SDTL-84-14/3 | [5 empty] | X |  |  | 5849.49 | 3991.58
101.1 |  | 1 | ea | Pre-Rinse Faucet Assembly | Fisher | 13390 | [5 empty] | X |  |  | 501.85 | 353.18
102 |  | 2 | ea | Dishtable Sorting Shelf | Eagle Group | 606301 | [5 empty] | X |  |  | 1868.64 | 1263.92
103 |  | 1 | ea | Disposer | InSinkErator | SS-200-7-AS101 |  | 7.7 | 208/1 | D |  | X |  |  | 5480.82 | 3983.11
103.1 |  | 1 | ea | Vacuum Breaker Assembly | Fisher | 3990 | [5 empty] | X |  |  | 244.83 | 184.65
104 |  | 1 | ea | Dishwasher, Conveyor Type | Hobart | CL44EN-BAS+BUILDUP |  | 55 | 208/3 | D |  | X |  |  | 29455.87 | 29406.06
|  |  |  | Integral Booster Heater |  |  |  | 45 | 208/3 | D |  | X
104.1 |  | 1 | ea | Water Filtration System, for Warewashing Units | Everpure | EV979911 | [5 empty] | X |  |  | 541.87 | 398.21
105 | NIC | 1 | ea | Class 2 Exhaust System | Captive-Aire | CLASS 2 HOOD | [5 empty] | X |  |  | 0
106 |  | 0 |  | Not Used | [7 empty] | X
107 |  | 1 | ea | Water Softener Conditioner | Hobart | WS40-NOINSTALL | [5 empty] | X |  |  | 2310.94 | 2310.94
108 |  | 1 | ea | Clean Dishtable | Eagle Group | CDTR-120-14/3 | [5 empty] | X |  |  | 11470.4 | 7733.41
108.1 |  | 1 | ea | Wall / Splash Mount Faucet | Fisher | 5414 | [5 empty] | X |  |  | 1871.87 | 1696.64
109 |  | 1 | ea | Dishtable Sorting Shelf | Eagle Group | 606303 | [5 empty] | X |  |  | 1071.35 | 726.72
109 |  | 2 | ea | Dishtable Sorting Shelf | Eagle Group | 606301 | [5 empty] | X |  |  | 1868.64 | 1263.92
110 |  | 0 |  | Not Used | [10 empty] | 0 | 0
111 |  | 1 | ea | Shelving, Wall Mounted | Eagle Group | WS1296-16/3 | [5 empty] | X |  |  | 941.6 | 665.81
112 |  | 2 | ft | Wall Cladding | Fabricated | STAINLESS STEEL - BELLY BAND | [5 empty] | X |  |  | 2076 | 2076
113 |  | 4 | ea | Plastic with Metal Frame Shelving | Metro | MQ2424G | [5 empty] | X |  |  | 731.14 | 567.26
114 |  | 1 | ea | Walk In Cooler | American Panel | WALK IN COOLER |  | 8 | 115/1 | D |  | X |  |  | 25085.75 | 25085.75
|  |  |  | Cooler Compressor |  |  |  | 10 | 208/1 | D |  | X
|  |  |  | Cooler Evaporator |  |  |  | 8 | 115/1 | D |  | X
114.1 |  | 1 | ea | Condensing Unit Stand | Fabricated | CONDENSING UNIT STAND | [5 empty] | X |  |  | 442.5 | 442.5
114.2 |  | 1 | ea | Drain Line Cover | Fabricated | DRAIN LINE COVER | [5 empty] | X |  |  | 442.5 | 265.5
115 |  | 5 | ea | Plastic with Metal Frame Shelving | Metro | MQ2460G | [5 empty] | X |  |  | 4018.75 | 3235.1
116 |  | 2 | ea | Bun / Sheet Pan Rack | New Age | 1331U | [5 empty] | X |  |  | 1658.94 | 1157.86
117 |  | 4 | ea | Plastic with Metal Frame Shelving | Metro | MQ2130G | [5 empty] | X |  |  | 720.5 | 558.74
118 |  | 1 | ea | Work Table, with Prep Sink(s) | Eagle Group | SMPT30120 | [5 empty] | X |  |  | 10509.51 | 7172.77
118.1 |  | 2 | ea | Wall / Splash Mount Faucet | Fisher | 13277 | [5 empty] | X |  |  | 865.06 | 731.16
119 |  | 1 | ea | Wall Grid Shelving Unit | Metro | SWK36-1 | [5 empty] | X |  |  | 706.31 | 502.55
120 |  | 1 | ea | Microwave Oven | ACP | RCS10TS |  | 13 | 115/1 | 5-20P |  | X |  |  | 971.54 | 750.95
121 |  | 2 | ea | Shelving, Wall Mounted | Eagle Group | WS12120-16/3 | [5 empty] | X |  |  | 2334.86 | 1650.56
122 |  | 1 | ea | Wall Grid Shelving Unit | Metro | SWK36-1 | [5 empty] | X |  |  | 706.31 | 502.55
123 |  | 5 | ea | Wire Shelving | Metro | 2448NK3 | [5 empty] | X |  |  | 749.65 | 524.9
124 |  | 1 | ea | Reach-In Freezer | Utility Refrig | F-60-SS-2S-D |  | 19.3 | 115/1 | 5-20P |  | X |  |  | 12060.75 | 8669.43
125 |  | 1 | ea | Work Table, Stainless Steel Top | Eagle Group | T3048SE-BS | [5 empty] | X |  |  | 2748.19 | 1857.53
126 |  | 1 | ea | Shelving, Wall Mounted | Eagle Group | WS1248-16/3 | [5 empty] | X |  |  | 596.2 | 403.48
127 |  | 2 | ea | Shelving, Wall Mounted | Eagle Group | WS1272-16/3 | [5 empty] | X |  |  | 1585.28 | 1120.26
128 |  | 1 | ea | Hand Sink | Eagle Group | HSA-10 | [5 empty] | X |  |  | 841.74 | 563.93
128.1 |  | 1 | ea | Wall / Splash Mount Faucet | Fisher | 80691 | [5 empty] | X |  |  | 271.7 | 261.68
129 |  | 1 | ea | Hose Bib Faucet | Fisher | 29556 | [5 empty] | X |  |  | 1022.65 | 499.32
130 |  | 1 | ea | Microwave Oven, Shelf | Eagle Group | MWS1824 | [5 empty] | X |  |  | 424.8 | 287.97
131 |  | 1 | ea | Mop Sink Cabinet | Eagle Group | F1916-VSCS | [5 empty] | X |  |  | 5290.18 | 3757.51
132 |  | 1 | ea | Reach-In Freezer | Utility Refrig | F-30-SA-1S-D |  | 10.5 | 115/1 | 5-15P |  | X |  |  | 6295.82 | 6295.82
133 | by DIV 22/23 | 1 | ea | Class 1 Exhaust System With Fire Suppression | Captive-Aire | CLASS 1 HOOD | [5 empty] | X
134 |  | 26 | ft | Wall Cladding | Fabricated | STAINLESS STEEL - FULL HEIGHT | [5 empty] | X |  |  | 3935.88 | 3935.88
135 |  | 15 | ft | Gas Line Cover | Fabricated | HORIZONTAL | [5 empty] | X |  |  | 1121.25 | 1121.25
135.1 |  | 1 | ea | Gas Line Cover | Fabricated | VERTICAL | [5 empty] | X |  |  | 402.5 | 402.5
136 |  | 1 | ea | Gas Fryer | Frymaster | FPPH255 |  | 8 | 115/1 | 5-15P | 1" | X |  |  | 26795.84 | 17622.52
136.1 |  | 1 | ea | Safety System Moveable Gas Connector | Dormont | 16100KITCF2S48 | [5 empty] | X |  |  | 569.15 | 406.95
136.2 |  | 1 | pk | Casters, Parts & Accessories | Eagle Group | CC-S-2 | [5 empty] | X |  |  | 72.52 | 45.49
137 |  | 1 | ea | Gas Countertop Griddle | Garland US Range | CG-72F |  | 1 | 115/1 | 5-15P | 1" | X |  |  | 17104.66 | 12297.52
137.1 |  | 1 | ea | Safety System Moveable Gas Connector | Dormont | 1675KIT2S48 | [5 empty] | X |  |  | 385.51 | 275.71
137.2 |  | 1 | pk | Casters, Parts & Accessories | Eagle Group | CC-S-2 | [5 empty] | X |  |  | 72.52 | 45.49
138 |  | 1 | ea | Equipment Stand, Refrigerated Base | Utility Refrig | LHR-72-4D-EM-C |  | 13.1 | 115/1 | 5-20P |  | X |  |  | 12953.03 | 9296.21
139 |  | 1 | ea | Cheesemelter, Gas | Garland US Range | IRCMA-72 |  |  |  |  | 3/4" | X |  |  | 8355.01 | 5243.88
140-141 |  | 0 |  | Not Used | [10 empty] | 0 | 0
142 |  | 1 | ea | Charbroiler, Gas, Countertop | Garland US Range | HEEGM24CL |  | 0.1 | 115/1 | 5-15P | 3/4" | X |  |  | 7173.1 | 4498.98
142.1 |  | 1 | ea | Safety System Moveable Gas Connector | Dormont | 1675KIT2S48 | [5 empty] | X |  |  | 385.51 | 275.71
142.2 |  | 1 | pk | Casters, Parts & Accessories | Eagle Group | CC-S-2 | [5 empty] | X |  |  | 72.52 | 45.49
143 |  | 1 | ea | Range, 24", 4 Open Burners | Garland US Range | U24-4L |  |  |  |  | 1" | X |  |  | 4567.86 | 3401.25
143.1 |  | 1 | ea | Safety System Moveable Gas Connector | Dormont | 1675KIT2S48 | [5 empty] | X |  |  | 385.51 | 275.71
143.2 |  | 1 | pk | Casters, Parts & Accessories | Eagle Group | CC-S-2 | [5 empty] | X |  |  | 72.52 | 45.49
144 |  | 0 |  | Not Used | [7 empty] | X
145 |  | 3 | ft | Bumper | Fabricated | STAINLESS BUMPER | [5 empty] | X |  |  | 222.18 | 222.18
146 |  | 1 | ea | Oven, Gas Fired | Marra Forni | RT130G |  | 12 | 115/1 | D | 3/4" | X |  |  | 53402.37 | 42626.73
|  |  |  | second gas connection | [6 empty] | 3/4" | X
146.1 |  | 1 | ea | Fabricated | Marra Forni | FABRICATED | [5 empty] | X |  |  | 2950 | 2950
146.2 |  | 1 | kt | Safety System Moveable Gas Connector | Dormont | 1675KIT48 | [5 empty] | X |  |  | 248.78 | 435.6
147 |  | 1 | ea | Shelving, Wall Mounted | Eagle Group | WS12120-16/3 | [5 empty] | X |  |  | 1167.43 | 825.28
148 |  | 1 | ea | Mega Top Sandwich / Salad Preparation Refrigerator | Randell | 9045K-513 |  | 9 | 115/1 | 5-15P |  | X |  |  | 6657.88 | 6657.88
149 |  | 1 | ea | Microwave Oven | ACP | HDC182 |  | 14.4 | 208/1 | 6-20P |  | X |  |  | 2336.82 | 1690.65
150 |  | 1 | ea | Serving Counter, Hot Food, Electric | Eagle Group | SHT2-208 | [5 empty] | X |  |  | 3165.28 | 2265.44
151 |  | 1 | ea | Wall / Splash Mount Faucet | Fisher | 13250 | [5 empty] | X |  |  | 138.2 | 138.2
152 |  | 1 | ea | Sandwich / Salad Preparation Refrigerator | Randell | 9401-290 |  | 5.5 | 115/1 | 5-15P |  | X |  |  | 4529.54 | 3181.74
153 |  | 1 | ea | Hand Sink | Eagle Group | HSA-10 | [5 empty] | X |  |  | 841.74 | 563.93
153.1 |  | 1 | ea | Wall / Splash Mount Faucet | Fisher | 80691 | [5 empty] | X |  |  | 271.7 | 261.68
154 |  | 1 | ea | Hand Sink | Eagle Group | HSA-10 | [5 empty] | X |  |  | 841.74 | 563.93
154.1 |  | 1 | ea | Wall / Splash Mount Faucet | Fisher | 80691 | [5 empty] | X |  |  | 271.7 | 261.68
155 |  | 1 | lt | 24" Double overshelf w/ 24" cap shelf | Eagle Group | CUSTOM |  | 10 | 115/208/1 | D |  | X |  |  | 5520 | 5520
156 |  | 2 | ea | Heat Lamp | Hatco | GRAL-66D3 |  | 12.5 | 115/208/1 | D |  | X |  |  | 2634.1 | 1864.74
157 |  | 1 | ea | Work Table, Cabinet Base Open Front | Eagle Group | OB24120SE-BS | [5 empty] | X |  |  | 8606 | 6133.67
158 |  | 1 | ea | Hot Food Well Unit, Drop-In, Electric | Wells | MOD-100TD/AF |  | 6 | 208/1 | D |  | X |  |  | 2346.5 | 1155.88
159 |  | 1 | ea | Cold Food Well Unit, Drop-In, Refrigerated | Wells | RCP-100 |  | 5.5 | 115/1 | 5-15P |  | X |  |  | 7965.84 | 2695.96
159.1 |  | 1 | ea | Fabricated | Fabricated | LID | [5 empty] | X |  |  | 377.6 | 377.6
160 |  | 1 | ea | Conveyor Toaster | Hatco | TQ3-500H |  | 10.7 | 208/1 | 6-15P |  | X |  |  | 1912.05 | 1421.76
161 |  | 1 | ea | Work Table, Cabinet Base Open Front | Eagle Group | OB3090SE-BS | [5 empty] | X |  |  | 7192.39 | 5060.43
162 | OWNER | 1 | ea | Coffee Brewer | BUNN | 37600.0002 |  | 28 | 115/208 | D |  | X
163 |  | 1 | ea | Filter, hot beverage | Selecto Scientific | 80-6202-CP | [5 empty] | X |  |  | 786.58 | 786.58
164 | OWNER | 1 | ea | Iced Tea Brewer | BUNN | 41400.0000 |  | 14 | 115/1 | 5-15P |  | X
165 | OWNER | 1 | ea | Soda Ice & Beverage Dispenser | Lancer | 85-4526H-111 |  | 3 | 115/1 | 5-15P |  | X
166 |  | 1 | ea | Filter, Cold Beverage | Selecto Scientific | 80-6202 | [5 empty] | X |  |  | 640.97 | 640.97
167 |  | 1 | ea | Ice Machine, Nugget Compressed | Follett | HCC1410ABT |  | 14 | 208/1 | D |  | X |  |  | 9566.8 | 9392.9
1 |  | 1 | ea | Ice Maker, Cube-Style | Manitowoc | IYT1200A | [5 empty] | X |  |  | 7161.62 | 6686.88
168 |  | 1 | ea | Ice Bin for Ice Machines | Follett | DEV700SG-30-75 | [5 empty] | X |  |  |  | 4328.3
168 |  | 1 | ea | Ice Bin for Ice Machines | Follett | SG700S-30 | [5 empty] | X |  |  | 5282.22 | 3312.06
169 |  | 1 | ea | Trench Drain | Zurn | Z-890-2E1-36 | [5 empty] | X |  |  | 1416 | 1416
170 |  | 0 |  | Not Used
171 |  | 1 | ea | Work Table, Cabinet Base Hinged Doors | Eagle Group | CBH3060SE-BS | [5 empty] | X |  |  | 4274.37 | 2909.18
172 |  | 3 | ea | Heat Lamp | Hanson Heat Lamps | 700-RET |  | 2.5 | 115/1 | D |  | X |  |  | 1813.86 | 1587.3
173 |  | 1 | ea | Sneeze Guard, Stationary | English Mfg | M-100-3 | [5 empty] | X |  |  | 986.93 | 986.93
174 |  | 1 | ea | Pizza Preparation Refrigerator | Randell | 8260N-290 |  | 9 | 115/1 | 5-15P |  | X |  |  | 12574.19 | 8050.07
175 |  | 1 | ea | Work Table, Cabinet Base Hinged Doors | Eagle Group | CBH3096SE-BS | [5 empty] | X |  |  | 5679.08 | 3875.62
176 |  | 1 | ea | Pizza Preparation Refrigerator | Randell | 8260N-290 |  | 9 | 115/1 | 5-15P |  | X |  |  | 12574.19 | 8050.07
177 |  | 1 | ea | Pizza Preparation Refrigerator | Randell | 8260N-290 |  | 9 | 115/1 | 5-15P |  | X |  |  | 12574.19 | 8050.07
178 |  | 1 | ea | Sneeze Guard, Stationary | English Mfg | M-100-3 | [5 empty] | X |  |  | 986.93 | 986.93
179 |  | 1 | ea | Work Table, Cabinet Base Hinged Doors | Eagle Group | CBH3084SE-BS | [5 empty] | X |  |  | 4985.83 | 3403.62
180 |  | 1 | ea | Shelving, Wall Mounted | Eagle Group | WS1284-16/3 | [5 empty] | X |  |  | 1493.43 | 1061.27
181 |  | 1 | ea | Hand Sink | Advance Tabco | 7-PS-43 | [5 empty] | X |  |  | 2420.24 | 1578.08
181.1 |  | 1 | ea | Faucet, Electronic Parts | T&S Brass | 5EF-TMV | [5 empty] | X |  |  | 194.55 | 342.48
182 | OWNER | 1 | ea | Coffee Brewer | BUNN | 37600.0002 |  | 28 | 115/208/1 | D |  | X
183 | OWNER | 1 | ea | Coffee Grinder | BUNN | 33700.0001 |  | 9.4 | 115/1 | 5-15P |  | X |  |  |  |  | recently replaced
184 |  | 1 | ea | Undercounter Refrigerator | Traulsen | UHT27-L |  | 7.5 | 115/1 | 5-15P |  | X |  |  | 3715.32 | 3574.07
185 |  | 1 | ea | Tabletop Waste Bin | Component Hardware | J92-1000 | [5 empty] | X |  |  | 42.17 | 63.65
186 |  | 1 | ea | Knock Box, Parts & Accessories | Tomlinson Industries | 1024673 | [5 empty] | X |  |  | 70.68 | 70.68
187 |  | 1 | ea | Espresso Cappuccino Machine | Franke | A800 FM |  | 24.2 | 208/1 | L6-30P |  | X |  |  | 21059.4 | 22933.3 | recently replaced
|  |  |  | Refrigeration Unit |  |  |  | 1.7 | 115/1 | 5-15P |  | X
|  |  |  | Flavor Station |  |  |  | 1.8 | 115/1 | 5-15P |  | X
188 |  | 1 | ea | Sneeze Guard, Stationary | English Mfg | M-100-3 | [5 empty] | X |  |  | 986.93 | 986.93
189 |  | 1 | ea | Sneeze Guard, Stationary | English Mfg | CUSTOM | [5 empty] | X |  |  | 2500 | 2500
190 |  | 0 |  | Not Used
191 |  | 1 | ea | Self-Service Refrigerated Merchandiser | Structural Concepts | B4732 |  | 10.2 | 208/1 | 6-20P |  | X |  |  | 11730.66 | 11547.47
192 |  | 1 | ea | Self-Service Refrigerated Merchandiser | Structural Concepts | B4732 |  | 10.2 | 208/1 | 6-20P |  | X |  |  | 11730.66 | 11547.47
193 |  | 5 | ea | Corner Guard | Fabricated | CORNER | [5 empty] | X |  |  | 914.5 | 914.5
194-200 |  | 0 |  | Not Used
201 |  | 1 | ea | Underbar Add-On Unit | Glastender | DWB-15L | [5 empty] | X |  |  | 872.22 | 512.94
202 |  | 1 | ea | Glass Rack | Glastender | DBGR-24 | [5 empty] | X |  |  | 1428.31 | 843.15
203 |  | 1 | ea | Soda Gun Holder & Tubing Chase | Glastender | SHB-6 | [5 empty] | X |  |  | 549.46 | 322.46
204 |  | 1 | ea | Ice Bin with Bottle Wells | Glastender | CBA-36L-CP10 | [5 empty] | X |  |  | 4774.51 | 2808.84
205 |  | 1 | ea | Blender Station | Glastender | BSA-12 | [5 empty] | X |  |  | 1315.95 | 768.9
206 |  | 1 | ea | Bottle Display | Glastender | LDA-18S | [5 empty] | X |  |  | 2063.68 | 1185.94
207 |  | 1 | ea | Hand Sink | Glastender | HSB-12-AD | [5 empty] | X |  |  | 1652.34 | 966.29
208 |  | 1 | ea | Glass Rack | Glastender | DBGR-24 | [5 empty] | X |  |  | 1428.31 | 843.15
209 |  | 1 | ea | Back Bar Cabinet, Refrigerated | Glastender | C1FB36 |  | 3 | 115/1 | 5-15P |  | X |  |  | 5931.51 | 3544.31
210 |  | 0 |  | Not Used
211 |  | 1 | ea | Glasswasher | Glastender | GT-24-CCW-208 |  | 30 | 115/208/1 | D |  | X |  |  | 6654.02 | 6654.02
211.1 |  | 1 | ea | Water Filtration System, for Warewashing Units | Everpure | EV979911 | [5 empty] | X |  |  | 541.87 | 398.21
212 |  | 1 | ea | Storage Cabinet | Glastender | DBCB-15 | [5 empty] | X |  |  | 1575.98 | 929.17
213 |  | 1 | ea | Draft Beer / Wine Dispensing Tower | Glastender | BT-10-SSR | [5 empty] | X |  |  | 4649 | 2826.21
214 |  | 0 |  | Not Used
215 |  | 0 |  | Not Used
216 |  | 1 | ea | Glass Froster | Glastender | MF24-B2 |  | 7.1 | 115/1 | 5-15P |  | X |  |  | 3729.81 | 2205.81
217 |  | 1 | ea | Back Bar Cabinet, Refrigerated, Pass-Thru | Glastender | CP1FB84 |  | 7 | 115/1 | 5-15P |  | X |  |  | 11110.69 | 6557.73
218 |  | 1 | ea | Liquor Bottle Display | Glastender | LLD3-84L |  | 5 | 115/1 | 5-15P |  | X |  |  | 1037.71 | 1037.71
219 |  | 1 | ea | Liquor Bottle Display | Glastender | LLD3-84R |  | 5 | 115/1 | 5-15P |  | X |  |  | 1037.71 | 1037.71
220 |  | 0 |  | Not Used
221 |  | 1 | ea | Underbar Add-On Unit | Glastender | DWB-15R | [5 empty] | X |  |  | 872.22 | 512.94
222 |  | 1 | ea | Dump Sink | Glastender | HSB-12 | [5 empty] | X |  |  | 1222.66 | 718.78
223 |  | 1 | ea | Storage Cabinet | Glastender | DBCB-24 | [5 empty] | X |  |  | 1758.1 | 1036.74
224 |  | 1 | ea | Glasswasher | Glastender | GT-24-CCW-208 |  | 30 | 115/208/1 | D |  | X |  |  | 6654.02 | 6654.02
224.1 |  | 1 | ea | Water Filtration System, for Warewashing Units | Everpure | EV979911 | [5 empty] | X |  |  | 541.87 | 398.21
225 |  | 1 | ea | Glass Rack | Glastender | DBGR-24 | [5 empty] | X |  |  | 1428.31 | 843.15
226 |  | 1 | ea | Hand Sink | Glastender | HSB-12-AD | [5 empty] | X |  |  | 1652.34 | 966.29
227 |  | 1 | ea | Bottle Display | Glastender | LDA-18S | [5 empty] | X |  |  | 2063.68 | 1185.94
228 |  | 1 | ea | Blender Station | Glastender | BSA-12 | [5 empty] | X |  |  | 1315.95 | 768.9
229 |  | 1 | ea | Ice Bin with Bottle Wells | Glastender | CBA-36L-CP10 | [5 empty] | X |  |  | 4774.51 | 2808.84
230 |  | 0 |  | Not Used
231 |  | 1 | ea | Soda Gun Holder & Tubing Chase | Glastender | SHB-6 | [5 empty] | X |  |  | 549.46 | 322.46
232 |  | 1 | ea | Glass Rack | Glastender | DBGR-24 | [5 empty] | X |  |  | 1428.31 | 843.15
233 |  | 1 | ea | Underbar Add-On Unit | Glastender | DWB-15L | [5 empty] | X |  |  | 872.22 | 512.94
234 |  | 1 | ea | Pass-Thru Ice Bin | Glastender | IB-38X24-CP10 | [5 empty] | X |  |  | 3610.46 | 2123.45
235 |  | 1 | ea | Underbar Add-On Unit | Glastender | SHP-4-ED | [5 empty] | X |  |  | 843.74 | 493.99
236 |  | 1 | ea | Glass Rack | Glastender | DBGR-24 | [5 empty] | X |  |  | 1428.31 | 843.15
237 |  | 59 | ft | Modular Bar System | Glastender | MD |  | 10 | 115/1 | D |  | X |  |  | 16381.94 | 9635.88

## Marketplace 2022
Existing Foodservice Equipment Assessment
2025-06-04
Project: | Bozeman Yellowstone International Airport | [8 empty] | TOTALS: |  |  |  | 278.11 | 400107.09 | 394453.56
Item # | Special | Quantity | Unit | Description : Marketplace | Manufacturer | Model # | Serial # | Amp Load | Voltage | Plug/ Direct | Gas Connection | Retain | Replacement needed | Replacement estimate | Full Replacement estimate | Appx value at time of purchase | Additional Notes
1 |  | 1 | ea | Reach-In Freezer | Utility Refrig | F-30-SS-1S-N-X |  | 9.5 | 115/1 | 5-15P |  | X |  |  | 10056.42 | 9437.55
2 |  | 1 | ea | Reach-In Refrigerator | Utility Refrig | R-75-SS-3S-N-X |  | 10.9 | 115/1 | 5-20P |  | X |  |  | 12751.05 | 11998.65
3 |  | 1 | ea | Reach-In Refrigerator | Utility Refrig | R-75-SS-3S-N-X |  | 10.9 | 115/1 | 5-20P |  | X |  |  | 14050.65 | 11998.65
4 |  | 4 | ea | Wire Shelving | Metro | 1824BR | [5 empty] | X |  |  | 283.32 | 265.68
5 |  | 4 | ft | Wall Cladding | Fabricated | STAINLESS STEEL - 84" | [5 empty] | X |  |  | 288 | 288
6 |  | 1 | ea | Mop Sink Cabinet | Eagle Group | F1916-VSCS-DR | [5 empty] | X |  |  | 6842.51 | 8046.67
6.1 |  | 1 | ea | Trim | Fabricated | [6 empty] | X
7 |  | 1 | ea | Hose Bib Faucet | Fisher | 29556 | [5 empty] | X |  |  | 159.07 | 144.43
7.1 |  | 1 | ea | Vacuum Breaker Assembly | Fisher | 14540 | [5 empty] | X |  |  | 899.7 | 458.06
8 |  | 1 | ea | Service Faucet | Fisher | 8253 | [5 empty] | X |  |  | 299.72 | 250.31
9 |  | 1 | ea | Hand Sink | Eagle Group | HSA-10 | [5 empty] | X |  |  | 857.67 | 1046.09
9.1 |  | 1 | ea | Wall / Splash Mount Faucet | Fisher | 80691 | [5 empty] | X |  |  | 273.9 | 249.3
10 |  | 0 |  | Not Used
11 |  | 1 | ea | Work Table, Stainless Steel Top | Eagle Group | T2472SE-BS | [5 empty] | X |  |  | 4821.25 | 5864.91
11.1 |  | 1 | ea | Wall / Splash Mount Faucet | Fisher | 13250 | [5 empty] | X |  |  | 440.15 | 408.54
12 |  | 4 | ea | Wire Shelving | Metro | 1436BR | [5 empty] | X |  |  | 579.6 | 542.64
13 |  | 1 | ea | Coffee Brewer | BUNN | 33500.0000 |  | 23.9 | 115/208/1 | D |  | X |  |  | 2564.3 | 2564.3
13.1 |  | 2 | ea | Coffee Dispenser | BUNN | 27850.0001 | [5 empty] | X |  |  | 1045.36 | 1004.9
13.2 |  | 1 | ea | Water Filtration System, for Coffee Brewers | Kinetico | 80-6100CP | [5 empty] | X |  |  | 650 | 398.48
14 |  | 1 | ea | Iced Tea Brewer | BUNN | 36700.0009 |  | 14.4 | 115/1 | 5-15P |  | X |  |  | 1008.38 | 933.79
14.1 |  | 1 | ea | Tea / Coffee Dispenser | BUNN | 34100.0002 | [5 empty] | X |  |  | 254.96 | 224.22
15 | OWNER | 1 | ea | Dunnage Rack | New Age | 2015 | [5 empty] | X
16 |  | 4 | ea | Wire Shelving | Metro | 2448BR | [5 empty] | X |  |  | 393.96 | 370.44
17 |  | 1 | ea | Self-Service Refrigerated Merchandiser | Structural Concepts | B7132 |  | 2.4 | 115/1 | D |  | X |  |  | 20971.8 | 20971.8
18 |  | 1 | ea | Self-Service Refrigerated Merchandiser | Structural Concepts | B7132 |  | 2.4 | 115/1 | D |  | X |  |  | 20971.8 | 20971.8
19 |  | 1 | ea | Self-Service Refrigerated Merchandiser | Structural Concepts | B7132 |  | 2.4 | 115/1 | D |  | X |  |  | 20971.8 | 20971.8
20 |  | 0 |  | Not Used
21 | OWNER | 1 | ea | Bussing Utility Transport Cart, Metal | Lakeside | 522 | [5 empty] | X
22 |  | 4 | ea | Wire Shelving | Metro | 2460BR | [5 empty] | X |  |  | 464.6 | 436.88
23 |  | 4 | ea | Wire Shelving | Metro | 2460BR | [5 empty] | X |  |  | 464.6 | 436.88
24 |  | 1 | ea | Beverage Dispenser, Stand | BUNN | 27875.0000 | [5 empty] | X |  |  | 410.51 | 323.48
25 |  | 2 | ea | Coffee Dispenser | BUNN | 27850.0001 | [5 empty] | X |  |  | 1106.46 | 1061.08
26 | OWNER | 1 | ea | Condiment Caddy | Vollrath | CTCPAN3-6 | [5 empty] | X
27 |  | 0 |  | Not Used
28 |  | 1 | ea | Beverage Dispenser, Stand | BUNN | 27875.0000 | [5 empty] | X |  |  | 410.51 | 323.48
29 |  | 2 | ea | Coffee Dispenser | BUNN | 27850.0001 | [5 empty] | X |  |  | 1106.46 | 1061.08
30 |  | 0 |  | Not Used
31 | OWNER | 1 | ea | Condiment Caddy | Vollrath | CTCPAN3-6 | [5 empty] | X
32 |  | 0 |  | Not Used
33 |  | 1 | ea | Ice & Water Dispenser | Manitowoc | CNF0202A |  | 10.3 | 115/1 | 5-15P |  | X |  |  | 9435.78 | 8038.8
33.1 |  | 1 | ea | Water Filtration System, for Ice Machines | Manitowoc | AR-10000-P | [5 empty] | X |  |  | 321.06 | 297.3
34 |  | 1 | ea | Tea / Coffee Dispenser | BUNN | 34100.0002 | [5 empty] | X |  |  | 254.96 | 224.22
34.1 |  | 1 | ea | Drip Tray | BUNN | 26830.0000 | [5 empty] | X |  |  | 46.23 | 42.87
35 |  | 1 | ea | Ice Cream Novelty Merchandiser | Beverage Air | NC43HC-1-W |  | 3.5 | 115/1 | 5-15P |  | X |  |  | 3495 | 3397.08
36 |  | 1 | ea | Self-Service Refrigerated Case | Structural Concepts | FSE663R |  | 7.8 | 115/1 | D |  | X |  |  | 31710.3 | 31710.3
37 |  | 0 |  | Not Used | [7 empty] | X
38 |  | 1 | ea | Self-Service Refrigerated Case | Structural Concepts | FSE663R |  | 7.8 | 115/1 | D |  | X |  |  | 31710.3 | 31710.3
39 |  | 1 | ea | Display Case, Refrigerated, Self-Serve | Structural Concepts | FSI656R |  | 4.7 | 115/1 | D |  | X |  |  | 33399.3 | 33399.3
40 |  | 0 |  | Not Used
41 |  | 1 | ea | Display Case, Refrigerated, Self-Serve | Structural Concepts | FSI656R |  | 4.7 | 115/1 | D |  | X |  |  | 33399.3 | 33399.3
42 |  | 1 | ea | Custom Counter | Nationwide |  |  | 10 | 115/1 | D |  | X |  |  | 18102 | 18102
43 |  | 1 | ea | Sneeze Guard, Stationary | Premier Metal & Glass | TMUD |  | 10.1 | 115/1 | D |  | X |  |  | 11400 | 11400
44 |  | 1 | ea | Heated Shelf Food Warmer | Hatco | GRSBF-48-S |  | 10.2 | 115/1 | 5-15P |  | X |  |  | 1857.59 | 1806.26
45 |  | 1 | ea | Heated Shelf Food Warmer | Hatco | GRSBF-48-S |  | 10.2 | 115/1 | 5-15P |  | X |  |  | 1857.59 | 1806.26
46 |  | 1 | ea | Serving Counter, Hot & Cold | Low Temp | 50-QSGT-42-2T |  | 11 | 115/1 | 5-15P |  | X |  |  | 26400 | 26400
47 |  | 1 | ea | Sneeze Guard, Stationary | Premier Metal & Glass | TMUD | [5 empty] | X |  |  | 5400 | 5400
48-50 |  | 0 |  | Not Used
51 |  | 1 | ea | Mobile Heated Cabinet | FWE | UHS-10 |  | 13.8 | 115/1 | 5-20P |  | X |  |  | 6888.42 | 6242.58
52 |  | 1 | ea | Mobile Heated Cabinet | FWE | UHS-10 |  | 13.8 | 115/1 | 5-20P |  | X |  |  | 6888.42 | 6242.58
53 |  | 1 | ea | Undercounter Refrigerator | Utility Refrig | CHR-30-1S-D-EM |  | 3.9 | 115/1 | 5-15P |  | X |  |  | 6501.6 | 6076.8
54 |  | 1 | ea | Drop-In Sink | Eagle Group | SR10-14-5-1 | [5 empty] | X |  |  | 433.77 | 528.08
54.1 |  | 1 | ea | Hands Free Electronic Faucet | T&S Brass | EC-3100-TMV |  | 2 | 115/1 | 5-15P |  | X |  |  | 660.21 | 628.89
55 |  | 1 | ea | Self-Service Refrigerated Open Air Screen Case | Structural Concepts | CO35R |  | 14.6 | 115/1 | 5-20P |  | X |  |  | 14796.9 | 14796.9
56 |  | 0 |  | Not Used
57 |  | 0 |  | Not Used
58 | OWNER | 3 | ea | Condiment Caddy | Vollrath | CFIFO-2X | [5 empty] | X
59 | OWNER | 6 | ea | Serving Counter, Parts & Accessories | Steril-Sil | E1-2N5-1VH | [5 empty] | X
60 |  | 0 |  | Not Used
61 | OWNER | 6 | ea | Condiment Caddy | Vollrath | CTCPAN3-6 | [5 empty] | X
62 |  | 7 | ea | Tabletop Waste Bin | Vollrath | 1Y402 | [5 empty] | X |  |  | 199.36 | 199.36
62 |  | 7 | ea | Tabletop Waste Bin | Vollrath | 120Y02 | [5 empty] | X |  | 278.11 | 278.11 | 278.11 | update counter to accommodate larger insert
63 |  | 2 | ea | Tabletop Waste Bin | Vollrath | E6WC02 | [5 empty] | X |  |  | 124.94 | 124.94
64 |  | 1 | ea | Remote Condenser Rack | RDT | REMOTE CONDENSING RACK |  | 30 | 208/1 | D |  | X |  |  | 29147.44 | 29147.44 | review communication and alarm with BAS
|  |  |  | Second Electrical Connection |  |  |  | 20 | 115/1 | D |  | X

## Sheet 1
Existing Foodservice Equipment Assessment
2025-06-04
Project: | Bozeman Yellowstone International Airport | [8 empty] | TOTALS: |  |  |  | 0 | 0
Item # | Special | Quantity | Unit | Description | Manufacturer | Model # | Serial # | Voltage | Amp Load | Plug/ Direct | Gas Connection | Retain | Replacement needed | Appx value at time of purchase | Replacement estimate | Additional Notes